## Summury
Trinamul Unnayan sahastha (TUS)
Increasing Access to Improved WASH Services in Bangladesh
Lot-5 BOQ Summury
Construction of Civil work Latrine & septitank , Ringwell Renovation work
Location: Jora Bridge High School, Kabakali Union , and Udalbagan high school ,Dighinala Union Khagrachari District
(All rate Should be including transportation, VAT & Tax)
SL No | Details Description of Works | Total Amount BDT
5.1 | Constructionof Civil Work for Jora bridgeHigh school latrine & Septitank | 0
5.2 | Construction of Civil works for Udalbagan High school latrine & Septitank | 0
5.3 | Jora Brigde High School Ring well Renovation & Clening work | 0
Grand Total (in BDT) |  | 0
Inwords :
| Signature of Engineer | Signature of Contractor

## Lot-5.1
Trinamul Unnayan sahastha (TUS)
Increasing Access to Improved WASH Services (IWASH) in Bangladesh
Lot-5.1 BOQ School Latrine with Septic Tank
Constructionof Civil Work for Jora bridgeHigh school latrine & Septitank
Location: Jora Bridge High School, Kabakali Union ,Khagrachari District
Sl# | Description of Work/Item Part A | Unit | Volume of CUM | Unit Rate in BDT | Total Amount in BDT
1 | Mobilization of construction materials, equipment, pump test, personnel to the sites selected for construction of having a Over Head Tank, DBH. Pipe Network and Water Dispenser capacity of 5,000.00 litre. Rate shall be inclusive of setting up site and demobilization after completion of works. All should be completed as per the direction provided and accepted by the Engineer in Charge. | LS | 1 |  | 0
2 | 5.02.01.2: Earth work in excavation in all kinds of soil for foundation trenches including layout, providing center lines, local bench-mark pillars, levelling, ramming and preparing the base, fixing bamboo spikes and marking layout with chalk powder, providing necessary tools and plants, protecting and maintaining the trench dry etc., stacking, cleaning the excavated earth at a safe distance out of the area enclosed by the layout etc. all complete and accepted by the Engineer-in-charge, subject to submit method statement of carrying out excavation work to the Engineer-in-charge for approval. Earthwork in excavation in foundation trenches up to 1.5 m depth and maximum 10 m lead [PWD 02.1.2] | cum | 42.11 |  | 0
3 | 5.02.08.1: Sand filling in foundation trenches and plinth with sand having minimum F.M. 0.5 in 150 mm layers including leveling, watering and compaction to achieve minimum dry density of 95% with optimum moisture content (Modified proctor test) by ramming each layer up to finished level as per design supplied by the design office only, all complete and accepted by the Engineer-in-charge. [PWD 02.10.1] | cum | 7.35 |  | 0
4 | 5.03.01: One layer brick flat soling in foundation or in floor with first class/picked jhama bricks (BDS 208) including preparation of bed and filling the interstices with local sand, leveling etc. complete and accepted by the Engineer-in-charge [PWD 03.1.1] | sqm | 54.18 |  | 0
5 | 5.03.03.1: Mass concrete (1:2:4) in foundation or in floor with cement, sand (F.M. 1.2) and picked jhama brick chips including breaking of chips, screening, mixing, laying, compacting to required level and curing for at least 7 days including the supply of water, electricity, costs of tools & plants and other charges etc. all complete and accepted by Engineer-in-charge. (Cement: CEM-II/B-M) [PWD 03.5] | cum | 2.59 |  | 0
6 | 6.02.02 : 250mm Brick Work: Brick works 250mm/ >250mm brick works with first class bricks in cement sand (F.M. of sand 1.2) mortar (1:6 below GL and 1:4 above GL) in foundation, wall and plinth, filling the joints/interstices fully with mortar, racking out the joints, cleaning and soaking the bricks at least for 24 hours before use and curing at least for 7 days etc. all complete including cost of water, electricity and other charges and accepted by the Engineer. | cum | 23.72 |  | 0
7 | 3.11.02.1.01: 125mm Brick Work: 125 mm brick works with first class bricks with cement sand (F.M. 1.2) mortar (1:4) and making bond with connected walls including necessary scaffolding, raking out joints, cleaning and soaking the bricks for at least 24 hours before use and washing of sand, curing at least for 7 days including cost of water, electricity and other charges etc. all complete and accepted by the Engineer-in-charge. (Cement: CEM-II/B-M) .[PWD 04.16] | sqm | 110.83 |  | 0
8 | 5.12.03 Plastering Work with NFC: Minimum 12 mm thick cement sand (F.M. 1.2) plaster with neat cement finishing to plinth wall with cement (1:4) up to 150 mm below ground level including washing of sand, finishing the edges and corners and curing at least for 7 days, cost of water, electricity,scaffolding and other charges etc. all complete in all respect as per drawing and accepted by the Engineer-in-charge. (Cement: CEMII/B-M) ground floor. [PWD 15.2] | sqm | 77.48 |  | 0
9 | 5.12.02 Plastering Work: Minimum 12 mm thick cement sand (F.M. 1.2) plaster (1:4) with fresh cement to outer surface of wall, finishing the corner and edges including washing of sand, cleaning the surface, curing at least for 7 days, cost of water, electricity, scaffolding and other charges etc. all complete in all respect as per drawing and accepted by the Engineerin- charge. (Cement: CEM-II/B-M) ground floor. [PWD 15.1.2] | sqm | 140.91 |  | 0
10 | 5.05.01.03 R.C.C Work: R.C.C.works in Floor / roof slab, T-beam, L-beam and rectangular beam, tie beam, lintel, stair case slab and step etc. up to ground floor.with cement, sand (F.M. 1.6) and picked jhama chips (20mm nominal graded) in the proportion excluding cost of reinforcement (12mm dia. MS BAR) and necessary shuttering centering etc. and including cost of all materials and T&P required for proper completion of work. All should be completed as per the direction provided and accepted by the Engineer in Charge. | cum | 2.94 |  | 0
11 | 5.05.13.06 FORM WORK(Wooden): Centering and shuttering, including strutting, propping etc. (The formwork must be rigid enough both in and out of plane, to make the concrete surface true to the designed shape and size by using necessary materials all complete in all respect as per drawing and accepted by the Engineer. | sqm | 19.64 |  | 0
12 | 4.11.01.04.01M.S Fabrication and Joints in RCC Work: Grade 500-BSRM/RSRM/CSRM- (B500DWR: complying BDS ISO 6935-2:2016 1 ASTM A615) ribbed or deformed bar produced and marked according to Bangladesh standard, with minimum yield strength, fy (ReH)= 500 MPa and whatever is the yield strength within allowable limit as per BNBC/ ACI 318, the ratio of ultimate tensile strength fu to actual yield strength fy, shall be at least 1.25 and minimum elongation after fracture and minimum total elongation at maximum force is 17% and 8% respectively: above ground floor. | kg | 261.13 |  | 0
13 | 5.15.06.1 Tiles Work-Wall: Supplying, fitting and fixing country made glazed wall tiles complying BDS ISO 13006: 2015, irrespective of color &/or design, with 20 mm thick cement sand (F.M. 1.2) mortar (1:3) base and raking out the joints with white cement including cutting, laying and hire charge of machine and finishing with care etc. including cost of water, electricity and other charges complete in all respect and accepted by the Engineer-in-charge. (Cement: CEM-II/B-M). In ground floor. Wall tiles less than, equal or equivalent to 250 mm x 330 mm in sizes (PWD BW 06.6) | sqm | 69.05 |  | 0
14 | 5.15.01.1 Tiles Work-Floor: Supplying, fitting and fixing country made GP(Gress Porcellanto) - glazed or unglazed homogeneous floor tiles complying BDS ISO 13006: 2015, water absorption ≤ 0.5%, modulus of rupture (MOR) ≥ 27 N/mm2, irrespective of color &/or design, with 20 mm thick cement sand (F.M. 1.2) mortar (1:4) base and raking out the joints with white cement including cutting and laying the tiles in proper way and finishing with care etc. all complete and accepted by the Engineer-in-charge. GP (homogeneous) 300 mm x 300 mm floor tiles. (Cement: CEM-II/B-M). In ground floor (PWD 06.1) | sqm | 25.04 |  | 0
15 | 5.15.15.1 Tiles Work-Parking: Supplying, fitting and fixing 20mm to 25mm thick machine made cement pavement tiles having minimum compressive strength of 27 MPa, irrespective of color &/or design, with 20 mm thick cement sand (F.M. 1.2) mortar (1:4) base and making the joints carefully in true straight line including cutting, laying and hire charge of machine and finishing with care etc. including water, electricity and other charges complete in all respect and accepted by the Engineer-in-charge. (Cement: CEM-II/B-M). Pavement tiles of size 300 mm x 300 mm (PWD BW 06.15) | sqm | 7.01 |  | 0
16 | 5.16.03.1 Painting work: Interior standard acrylic emulsion paint (plastic or matt finish) of approved best quality and colour delivered from authorized local agent of the manufacturer in a sealed container; applying to interior wall and ceiling with surface preparation including cleaning drying, making free from dirt, grease, wax, removing all chalked and scaled materials, fungus, mending good the surface defects using sand paper and necessary scaffolding; applying necessary interior sealer of specified brand on prepared surface; then applying necessary interior putty of specified brand for levelling, spot filling, crack filling and cutting by sand paper/zero water paper; finally applying 2 coats of interior emulsion paint spreading by brush/roller/spray & necessary scaffolding etc. upto desired finishing, elapsing specified time for drying or recoating; all complete in all floors and accepted by the Engineer-incharge. [PWD 16.2.1) | sqm | 20.6 |  | 0
17 | 5.16.02 Painting work: Exterior premium acrylic emulsion paint of approved best quality and color with high performance against dirt picking tendency and efflorosence resistence properties along with water resisting properties and resistance properties against fungi, fading and flaking from authorized local agent of the manufacturer in a sealed container; applying to exterior surface with surface preparation including cleaning drying, making free from dirt, grease, wax, removing all chalked and scaled materials, fungus, mending good the surface defects using sand paper and necessary scaffolding; applying necessary exterior sealer of specified brand on prepared surface; then applying necessary exterior putty of specified brand for levelling, spot filling, crack filling and cutting by sand paper/zero water paper; finally applying 2 coats of exterior emulsion paint spreading by brush/roller/spray & necessary scaffolding etc. up to desired finishing, elapsing specified time for drying or recoating; all complete in all floors and accepted by the Engineer-in-charge. | sqm | 57.2 |  | 0
18 | RFL SWR uPVC Long Trap 100mm | Nos. | 4 |  | 0
19 | 100 mm Tee-RFL/Npoly | Nos. | 6 |  | 0
20 | RFL SWR uPVC Plain Bend 90° 100mm | Nos. | 8 |  | 0
21 | RFL SWR uPVC Plain Bend 90° 50mm | Nos. | 16 |  | 0
22 | RFL SWR uPVC Plain Tee 50mm | Nos. | 8 |  | 0
23 | 25mm/12.5mm Brush Soket | Nos. | 8 |  | 0
24 | 100 mm/75mm Reducer/kapa | Nos. | 4 |  | 0
25 | 25 mm PVC ball valbe-RFL/Npoly/Akij | Nos. | 4 |  | 0
26 | High quality Ceramic pan-Stella/rosa/Rak | Nos. | 2 |  | 0
27 | Rak-Carale-High commode | Nos. | 2 |  | 0
28 | Stainless water faucet- water tap | Nos. | 4 |  | 0
29 | Pillar Cock -CH Handle Moving S3 45-S Water Tap | Nos. | 3 |  | 0
30 | 100 mm dia PVC Pipe -RFL/Npoly/Akij | m | 25 |  | 0
31 | Majic Pipe-RFL/Npoly | Nos. | 2 |  | 0
32 | Connection Pipe 36" - Bathroom Accessories | Nos. | 2 |  | 0
33 | Angle stop cock | Nos. | 4 |  | 0
34 | Flush Tanks | Nos. | 1 |  | 0
35 | Push shower | Nos. | 2 |  | 0
36 | Angle Valve Hygiene | Nos. | 7 |  | 0
37 | Durable Toilet Push Shower - Silver | Nos. | 1 |  | 0
38 | 50 mm dia Class D PVC Pipe-RFL/Npoly/Akij | m | 15 |  | 0
39 | RFL Standard Solvent Cement 500 ml | Nos. | 1 |  | 0
40 | 25 mm dia Thread Pipe -RFL/Npoly/Akij | m | 40 |  | 0
41 | 19 mm dia Thread Pipe -RFL/Npoly/Akij | m | 45 |  | 0
42 | Ceramic Besin 18" size high quality with stand-RAK/Stella/Rosa | Nos. | 2 |  | 0
43 | 25mm thread elbow-RFL/Npoly/Akij | Nos. | 12 |  | 0
44 | 20mm thread elbow-RFL/Npoly/Akij | Nos. | 45 |  | 0
45 | Thread Tape-RFL/Npoly/Akij | m | 12 |  | 0
46 | Towel Rail | Nos. | 3 |  | 0
47 | DAP Rail 3/4'' dia SS pipe | m | 10 |  | 0
48 | 60mm Solit top Security Lock | Nos. | 1 |  | 0
49 | 30mm Solit top security Lock | Nos. | 1 |  | 0
50 | Grill for ventilator, size-20''x12'' | Nos. | 8 |  | 0
51 | PVC door high quality, size-30"x6.5'-RFL/npoly/standard | Nos. | 2 |  | 0
52 | PVC door high quality, size-42"x6.5'-RFL/npoly/standard | Nos. | 1 |  | 0
53 | RCC Ring, 48"dia 2.5 to 3" thickness | Nos. | 10 |  | 0
54 | RCC Cover slab, dia 50", 3" thickness | Nos. | 1 |  | 0
55 | 4" GI pipe for MHM Destroy Chamber | m | 1 |  | 0
56 | 40 mm dia G.I. pipe use of Ramp railing with with wall thickness 3.25 mm, outside diameter min 46.5 mm, weight 3.83 kg/m, can withstand min 50 kg/cm2 hydraulic pressure. | m | 28 |  | 0
57 | MS Box door -10"x8" for sanitary napkin destroy pit | Nos. | 1 |  | 0
58 | Mirror, size 2' height, 18" wide | Nos. | 3 |  | 0
59 | Stainless steel sink | Nos. | 1 |  | 0
60 | Tissu holder-6nos, Bodna-3nos, Handwash-3nos, towel holder-3, Trawel rail 2nos, Soap case 6nos, Hand towel-3, sandel-6pair, Dustbin-2nos,harpic, Dri move brash etc. | LS | 1 |  | 0
61 | Hygiene corner for Sanitary Napkin, Making wigh SS Sheet, GI Angle frame, Glass etc. with attached Kits and Accessories: Dettol, toothpaste, bandages, soap. Tissues, handwash, sanitary pads, towels , Nail cute,etc.(size- L-18"'xW- 12"xH-10") | LS | 1 |  | 0
62 | Supply and installation of 0.26 mm thick corrugated galvanized iron colour sheet (Bangladesh made) having min weight 63-65 kg per bundle (2'-6" width, 7ft long) for roof work fitted and fixed on M.S. sections with 'J' hook or wooden purlin with screws, limpet washers and putty etc as per direction of Engineer-in-charge. | sqm | 12.44 |  | 0
63 | Supplying and fitting,fixing 1" dia SS pipe for support as Disable friendly system per specification of drawing.Hanging support made of SS Pipe frame and brand quality plastice handle.Supply of RFL/Same brand Chair Commode as per the direction of authority | m | 1.52 |  | 0
64 | 40 mm dia G.I. pipe use of ver railing with with wall thickness 3.25 mm, outside diameter min 46.5 mm, weight 3.83 kg/m, can withstand min 50 kg/cm2 hydraulic pressure.,best queality gi pipe to ELC | m | 15.85 |  | 0
65 | MS Angle. 2 Inch x 2 Inch 4mm . L Shaped, quality in market with neces. 'oint and littin accordi to EIC | m | 26.06 |  | 0
66 | MS gate high quality,making with 25mm 25"x5mm thick GI Angle, flat bar, Plain sheet, size-4'-2''x7' | Nos. | 1 |  | 0
67 | 4" RCC Pipe with cap for Incenarator | Nos. | 1 |  | 0
68 | Electrical line connection with high quality cable, wearing materials, switch, soket ,wall Fan 2nos, chanel pipe etc. all materials | LS | 1 |  | 0
69 | Supply & installation of distribution wiring for light and 2/3 pin socket points etc. in conformity with IEE regulations in buildings with 2 x single core 1.5 mm B.Y.A cables and 2 x single core 4 mm BYA cables for wiring between MCB and switch boards and 16 SWG ECC (for 3-pin socket only) through installed PVC conduit with 16 SWG metal box of required size for switch board, inspection box, piano type switches, protective fuse with red light indication at incoming of switch board, 3 mm thick Perspex sheet cover for switch board etc. all complete as per direction of the Engineer in charge. |  |  |  | 0
| a)1 x single core 4 mm BYA cables between MCB to Switch board (three different colour) | m | 30 |  | 0
| b)1 x single core 1.5 mm BYA cables Switch board to light etc | m | 30 |  | 0
70 | Supply and installation of surface mounted concealed type switch board/box (200 mm x 100 mm x 75 mm) made of SWG steel and front cover of 3 mm thick ebonite sheet of approved colour suitable for mounting required nos. of switches/sockets etc. as per direction of the Engineer. | each | 5 |  | 0
71 | Click Champion Day Light Bulb 10W B22-with setting | Nos. | 8 |  | 0
72 | Masage writing | Nos. | 1 |  | 0
73 | Plage setting | Nos. | 1 |  | 0
| Total (Taka) including vat & tax |  |  |  | 0
Inword:
| Signature of Engineer |  | Signature of Contractor

## Lot-5.2
Trinamul Unnayan sahastha (TUS)
Increasing Access to Improved WASH Services(IWASH) in Bangladesh
Lot :5.2 Bill of Quantities(BOQ)
Udal bagu High School Latrine with Septic Tank
Location: Udal Bagun High School, Dighinala Union ,Khagrachari District
Sl# | Description of Work/Item Part A | Unit | Volume of CUM | Unit Rate in BDT | Total Amount in BDT
1 | Mobilization of construction materials, equipment, pump test, personnel to the sites selected for construction of having a Over Head Tank, DBH. Pipe Network and Water Dispenser capacity of 5,000.00 litre. Rate shall be inclusive of setting up site and demobilization after completion of works. All should be completed as per the direction provided and accepted by the Engineer in Charge. | LS | 1 |  | 0
2 | 5.02.01.2: Earth work in excavation in all kinds of soil for foundation trenches including layout, providing center lines, local bench-mark pillars, levelling, ramming and preparing the base, fixing bamboo spikes and marking layout with chalk powder, providing necessary tools and plants, protecting and maintaining the trench dry etc., stacking, cleaning the excavated earth at a safe distance out of the area enclosed by the layout etc. all complete and accepted by the Engineer-in-charge, subject to submit method statement of carrying out excavation work to the Engineer-in-charge for approval. Earthwork in excavation in foundation trenches up to 1.5 m depth and maximum 10 m lead [PWD 02.1.2] | cum | 35.74 |  | 0
3 | 5.02.08.1: Sand filling in foundation trenches and plinth with sand having minimum F.M. 0.5 in 150 mm layers including leveling, watering and compaction to achieve minimum dry density of 95% with optimum moisture content (Modified proctor test) by ramming each layer up to finished level as per design supplied by the design office only, all complete and accepted by the Engineer-in-charge. [PWD 02.10.1] | cum | 9.99 |  | 0
4 | 5.03.01: One layer brick flat soling in foundation or in floor with first class/picked jhama bricks (BDS 208) including preparation of bed and filling the interstices with local sand, leveling etc. complete and accepted by the Engineer-in-charge [PWD 03.1.1] | sqm | 66.33 |  | 0
5 | 5.03.03.1: Mass concrete (1:2:4) in foundation or in floor with cement, sand (F.M. 1.2) and picked jhama brick chips including breaking of chips, screening, mixing, laying, compacting to required level and curing for at least 7 days including the supply of water, electricity, costs of tools & plants and other charges etc. all complete and accepted by Engineer-in-charge. (Cement: CEM-II/B-M) [PWD 03.5] | cum | 4.28 |  | 0
6 | 6.02.02 : 250mm Brick Work: Brick works 250mm/ >250mm brick works with first class bricks in cement sand (F.M. of sand 1.2) mortar (1:6 below GL and 1:4 above GL) in foundation, wall and plinth, filling the joints/interstices fully with mortar, racking out the joints, cleaning and soaking the bricks at least for 24 hours before use and curing at least for 7 days etc. all complete including cost of water, electricity and other charges and accepted by the Engineer. | cum | 29.12 |  | 0
7 | 3.11.02.1.01: 125mm Brick Work: 125 mm brick works with first class bricks with cement sand (F.M. 1.2) mortar (1:4) and making bond with connected walls including necessary scaffolding, raking out joints, cleaning and soaking the bricks for at least 24 hours before use and washing of sand, curing at least for 7 days including cost of water, electricity and other charges etc. all complete and accepted by the Engineer-in-charge. (Cement: CEM-II/B-M) .[PWD 04.16] | sqm | 121.31 |  | 0
8 | 5.12.03 Plastering Work with NFC: Minimum 12 mm thick cement sand (F.M. 1.2) plaster with neat cement finishing to plinth wall with cement (1:4) up to 150 mm below ground level including washing of sand, finishing the edges and corners and curing at least for 7 days, cost of water, electricity,scaffolding and other charges etc. all complete in all respect as per drawing and accepted by the Engineer-in-charge. (Cement: CEMII/B-M) ground floor. [PWD 15.2] | sqm | 157.49 |  | 0
9 | 5.12.02 Plastering Work: Minimum 12 mm thick cement sand (F.M. 1.2) plaster (1:4) with fresh cement to outer surface of wall, finishing the corner and edges including washing of sand, cleaning the surface, curing at least for 7 days, cost of water, electricity, scaffolding and other charges etc. all complete in all respect as per drawing and accepted by the Engineerin- charge. (Cement: CEM-II/B-M) ground floor. [PWD 15.1.2] | sqm | 141.7 |  | 0
10 | 5.05.01.03 R.C.C Work: R.C.C.works in Floor / roof slab, T-beam, L-beam and rectangular beam, tie beam, lintel, stair case slab and step etc. up to ground floor.with cement, sand (F.M. 1.6) and picked jhama chips (20mm nominal graded) in the proportion excluding cost of reinforcement (12mm dia. MS BAR) and necessary shuttering centering etc. and including cost of all materials and T&P required for proper completion of work. All should be completed as per the direction provided and accepted by the Engineer in Charge. | cum | 4.21 |  | 0
12 | 4.11.01.04.01M.S Fabrication and Joints in RCC Work: Grade 500-BSRM/RSRM/CSRM- (B500DWR: complying BDS ISO 6935-2:2016 1 ASTM A615) ribbed or deformed bar produced and marked according to Bangladesh standard, with minimum yield strength, fy (ReH)= 500 MPa and whatever is the yield strength within allowable limit as per BNBC/ ACI 318, the ratio of ultimate tensile strength fu to actual yield strength fy, shall be at least 1.25 and minimum elongation after fracture and minimum total elongation at maximum force is 17% and 8% respectively: above ground floor. | kg | 328.9 |  | 0
13 | 5.15.06.1 Tiles Work-Wall: Supplying, fitting and fixing country made glazed wall tiles complying BDS ISO 13006: 2015, irrespective of color &/or design, with 20 mm thick cement sand (F.M. 1.2) mortar (1:3) base and raking out the joints with white cement including cutting, laying and hire charge of machine and finishing with care etc. including cost of water, electricity and other charges complete in all respect and accepted by the Engineer-in-charge. (Cement: CEM-II/B-M). In ground floor. Wall tiles less than, equal or equivalent to 250 mm x 330 mm in sizes (PWD BW 06.6) | sqm | 81.06 |  | 0
14 | 5.15.01.1 Tiles Work-Floor: Supplying, fitting and fixing country made GP(Gress Porcellanto) - glazed or unglazed homogeneous floor tiles complying BDS ISO 13006: 2015, water absorption ≤ 0.5%, modulus of rupture (MOR) ≥ 27 N/mm2, irrespective of color &/or design, with 20 mm thick cement sand (F.M. 1.2) mortar (1:4) base and raking out the joints with white cement including cutting and laying the tiles in proper way and finishing with care etc. all complete and accepted by the Engineer-in-charge. GP (homogeneous) 300 mm x 300 mm floor tiles. (Cement: CEM-II/B-M). In ground floor (PWD 06.1) | sqm | 36.89 |  | 0
15 | 5.15.15.1 Tiles Work-Parking: Supplying, fitting and fixing 20mm to 25mm thick machine made cement pavement tiles having minimum compressive strength of 27 MPa, irrespective of color &/or design, with 20 mm thick cement sand (F.M. 1.2) mortar (1:4) base and making the joints carefully in true straight line including cutting, laying and hire charge of machine and finishing with care etc. including water, electricity and other charges complete in all respect and accepted by the Engineer-in-charge. (Cement: CEM-II/B-M). Pavement tiles of size 300 mm x 300 mm (PWD BW 06.15) | sqm | 6.19 |  | 0
16 | 5.16.03.1 Painting work: Interior standard acrylic emulsion paint (plastic or matt finish) of approved best quality and colour delivered from authorized local agent of the manufacturer in a sealed container; applying to interior wall and ceiling with surface preparation including cleaning drying, making free from dirt, grease, wax, removing all chalked and scaled materials, fungus, mending good the surface defects using sand paper and necessary scaffolding; applying necessary interior sealer of specified brand on prepared surface; then applying necessary interior putty of specified brand for levelling, spot filling, crack filling and cutting by sand paper/zero water paper; finally applying 2 coats of interior emulsion paint spreading by brush/roller/spray & necessary scaffolding etc. upto desired finishing, elapsing specified time for drying or recoating; all complete in all floors and accepted by the Engineer-incharge. [PWD 16.2.1) | sqm | 31.67 |  | 0
17 | 5.16.02 Painting work: Exterior premium acrylic emulsion paint of approved best quality and color with high performance against dirt picking tendency and efflorosence resistence properties along with water resisting properties and resistance properties against fungi, fading and flaking from authorized local agent of the manufacturer in a sealed container; applying to exterior surface with surface preparation including cleaning drying, making free from dirt, grease, wax, removing all chalked and scaled materials, fungus, mending good the surface defects using sand paper and necessary scaffolding; applying necessary exterior sealer of specified brand on prepared surface; then applying necessary exterior putty of specified brand for levelling, spot filling, crack filling and cutting by sand paper/zero water paper; finally applying 2 coats of exterior emulsion paint spreading by brush/roller/spray & necessary scaffolding etc. up to desired finishing, elapsing specified time for drying or recoating; all complete in all floors and accepted by the Engineer-in-charge. [PWD 16.1.2] | sqm | 125.16 |  | 0
18 | RFL SWR uPVC Long Trap 100mm | Nos. | 4 |  | 0
19 | 100 mm Tee-RFL/Npoly | Nos. | 6 |  | 0
20 | RFL SWR uPVC Plain Bend 90° 100mm | Nos. | 10 |  | 0
21 | RFL SWR uPVC Plain Bend 90° 50mm | Nos. | 18 |  | 0
22 | RFL SWR uPVC Plain Tee 50mm | Nos. | 8 |  | 0
23 | 25mm/12.5mm Brush Soket | Nos. | 10 |  | 0
24 | 100 mm/75mm Reducer/kapa | Nos. | 4 |  | 0
25 | 25 mm PVC ball valbe-RFL/Npoly/Akij | Nos. | 4 |  | 0
26 | High quality Ceramic pan-Stella/rosa/Rak | Nos. | 2 |  | 0
27 | Rak-Carale-High commode | Nos. | 2 |  | 0
28 | Stainless water faucet- water tap | Nos. | 5 |  | 0
29 | Pillar Cock -CH Handle Moving S3 45-S Water Tap | Nos. | 4 |  | 0
30 | 100 mm dia PVC Pipe -RFL/Npoly/Akij | m | 20 |  | 0
31 | Majic Pipe-RFL/Npoly | Nos. | 2 |  | 0
32 | Connection Pipe 36" - Bathroom Accessories | Nos. | 3 |  | 0
33 | Angle stop cock | Nos. | 4 |  | 0
34 | Flush Tanks | Nos. | 2 |  | 0
35 | Push shower | Nos. | 1 |  | 0
33 | Angle Valve Hygiene | Nos. | 7 |  | 0
34 | Durable Toilet Push Shower - Silver | Nos. | 1 |  | 0
35 | 50 mm dia Class D PVC Pipe-RFL/Npoly/Akij | m | 15 |  | 0
36 | RFL Standard Solvent Cement 500 ml | Nos. | 1 |  | 0
37 | 25 mm dia Thread Pipe -RFL/Npoly/Akij | m | 35 |  | 0
38 | 19 mm dia Thread Pipe -RFL/Npoly/Akij | m | 45 |  | 0
39 | Ceramic Besin 18" size high quality with stand-RAK/Stella/Rosa | Nos. | 2 |  | 0
40 | 25mm thread elbow-RFL/Npoly/Akij | Nos. | 12 |  | 0
41 | 20mm thread elbow-RFL/Npoly/Akij | Nos. | 45 |  | 0
42 | Thread Tape-RFL/Npoly/Akij | m | 30 |  | 0
43 | Towel Rail | Nos. | 4 |  | 0
44 | DAP Rail 3/4'' dia SS pipe | m | 13 |  | 0
45 | 60mm Solit top Security Lock | Nos. | 1 |  | 0
46 | 30mm Solit top security Lock | Nos. | 1 |  | 0
47 | Grill for ventilator, size-20''x12'' | Nos. | 6 |  | 0
48 | PVC door high quality, size-30"x6.5'-RFL/npoly/standard | Nos. | 2 |  | 0
49 | PVC door high quality, size-42"x6.5'-RFL/npoly/standard | Nos. | 2 |  | 0
50 | RCC Ring, 48"dia 2.5 to 3" thickness | Nos. | 10 |  | 0
51 | RCC Cover slab, dia 50", 3" thickness | Nos. | 1 |  | 0
52 | 4" GI pipe for MHM Destroy Chamber | m | 1 |  | 0
53 | MS Box door -10"x8" for sanitary napkin destroy pit | Nos. | 1 |  | 0
54 | Mirror, size 2' height, 18" wide | Nos. | 4 |  | 0
55 | Stainless steel sink | Nos. | 1 |  | 0
56 | Tissu holder-6nos, Bodna-3nos, Handwash-3nos, towel holder-3, Trawel rail 2nos, Soap case 6nos, Hand towel-3, sandel-6pair, Dustbin-2nos,harpic, Dri move brash etc. | LS | 1 |  | 0
57 | Hygiene corner for Sanitary Napkin, Making wigh SS Sheet, GI Angle frame, Glass etc. (size- L-18"'xW- 12"xH-10") | LS | 1 |  | 0
58 | Hygiene corner Kit Box size(2'-0" x 1'.5" x 6")wooden with glass cover & with attached Kits and Accessories: Dettol, toothpaste, bandages, soap. Tissues, handwash, sanitary pads, towels , Nail cute,etc. | LS | 1 |  | 0
59 | Supply and installation of 0.26 mm thick corrugated galvanized iron colour sheet (Bangladesh made) having min weight 63-65 kg per bundle (2'-6" width, 7ft long) for roof work fitted and fixed on M.S. sections with 'J' hook or wooden purlin with screws, limpet washers and putty etc as per direction of Engineer-in-charge. | sqm | 11.85 |  | 0
60 | Supplying and fitting,fixing 1" dia SS pipe for support as Disable friendly system per specification of drawing.Hanging support made of SS Pipe frame and brand quality plastice handle.Supply of RFL/Same brand Chair Commode as per the direction of authority | m | 1.52 |  | 0
61 | 40 mm dia G.I. pipe use of Ramp railing with with wall thickness 3.25 mm, outside diameter min 46.5 mm, weight 3.83 kg/m, can withstand min 50 kg/cm2 hydraulic pressure. | m | 12.19 |  | 0
63 | MS Angle. 2 Inch x 2 Inch 4mm . L Shaped, quality in market with neces. 'oint and littin accordi to EIC | m | 29.87 |  | 0
64 | Manufacturing, supplying, fitting and fixing M.S. collapsible gate of any design and shape made of 25 mm x 25 mm x 3 mm M.S. angle placed @ 112 mm c/c vertically and connecting the same with each other by 25 mm x 3 mm M.S flat bar scissors 525 mm, 600 mm long provided in 3 rows including cutting the different M.S. members to required sizes, fabricating, welding, riveting with required size rivets, providing required size wheels, pulling handles on both sides, suitable locking arrangement, electrodes, grease and finally placing the same in position in between 2 (two) Nos. 50 mm x 50 mm x 6 mm M.S. tee rail made by welding 2 nos. 50 mm x 6 mm M.S. flat bar fitted and fixed at top and bottom with R.C.C. lintel/ roof slab, floors and side wall with required nos. 150 mm to 225 mm long 38 mm x 6 mm M.S. flat bar clamps one end welded with the gate member and the other end bifurcated and embedded in C.C. at the respective point including cutting holes and mending good the damages by pouring concrete (1:2:4) into the holes and finishing, etc. complete, painting 2 (two) coats with approved best quality synthetic enamel paint over a coat of anticorrosive painting, both end carriage, including greasing, electrodes, curing etc. complete as per drawing and design and accepted by the Engineer-in-charge. (Rate is excluding the cost of painting) | sqm | 3.25 |  | 0
65 | 4" RCC Pipe with cap for Incenarator | Nos. | 1 |  | 0
66 | Electrical line connection with high quality cable, wearing materials, switch, soket ,wall Fan 2nos, chanel pipe etc. all materials | LS | 1 |  | 0
67 | Supply & installation of distribution wiring for light and 2/3 pin socket points etc. in conformity with IEE regulations in buildings with 2 x single core 1.5 mm B.Y.A cables and 2 x single core 4 mm BYA cables for wiring between MCB and switch boards and 16 SWG ECC (for 3-pin socket only) through installed PVC conduit with 16 SWG metal box of required size for switch board, inspection box, piano type switches, protective fuse with red light indication at incoming of switch board, 3 mm thick Perspex sheet cover for switch board etc. all complete as per direction of the Engineer in charge. |  |  |  | 0
| a)1 x single core 4 mm BYA cables between MCB to Switch board (three different colour) | m | 30 |  | 0
| b)1 x single core 1.5 mm BYA cables Switch board to light etc | m | 30 |  | 0
68 | Supply and installation of surface mounted concealed type switch board/box (200 mm x 100 mm x 75 mm) made of SWG steel and front cover of 3 mm thick ebonite sheet of approved colour suitable for mounting required nos. of switches/sockets etc. as per direction of the Engineer. | each | 6 |  | 0
69 | Click Champion Day Light Bulb 10W B22-with setting | Nos. | 8 |  | 0
70 | Masage writing | Nos. | 1 |  | 0
71 | Plaque setting | Nos. | 1 |  | 0
| Total |  |  |  | 0
Inword:
| Signature of Engineer |  | Signature of Contractor

## Lot-5.3
Trinamul Unnayan sangstha(TUS)
Increasing access to Improved WASH Service (IWASH) in Bangladesh
Lot: 5.3 Ring Well Renovation & Clining , Pipe line work
Location : Jora Bridge High School, Kabakali Union, Dighinala Upazila, Khagrachari District
(All rate Should be including transportation, VAT & Tax)
Item no | Description of items | Unit | Qty | Unit cost | Total price
1 | Transportation and Mobilization: Transportation of all kind of Contractor's materials/equipments tools & plants boring pipes etc. including mobilzing the same to the work site, construction of the derrick and dismantling the same cleaning the site on completion of the work etc. all complete as per direction of Engineer -in-Charge. | LS | 1 |  | 0
2 | Cleaning and removal of silt, mud, debris and deposited materials from inside the ring tube well all complete as per direction of Engineer -in-Charge | each | 1 |  | 0
3 | Disinfecting the well including supply of sufficient quantity of bleaching powder (33% strength), chlorinated water having 150ppm available free chlorine complete as per standard specification, etc. all complete as per specifications and direction of the Engineer-in-charge. (This item include all cost.) | each | 1 |  | 0
4 | Submersible Pump RFL/Partex/Gazi,Lorence premium quality with two years guarantee, delivery 25 mm dia. to draw water at roof tank from TW, capacity 1.0 horse power as per standard specification, carrying, fitting & fixing (by 10 no G.I./14 no Copper wire) within TW and suction & delivery pipe, commissioning etc. all complete as per specifications and direction of the Engineer in Charge. | each | 1 |  | 0
5 | Supplying and placing of sylhet sand FM 2.0 of 150 mm thick as filter materials at the bottom of ring well as shown in drawing and direction of the Engineer in Charge. | cum | 0.17 |  | 0
6 | Supplying and placing of 12 mm and down graded khoa as filter materials at the bottom of ring as shown in drawing and direction of the Engineer in Charge. | cum | 0.53 |  | 0
7 | Supplying and placing of 20 mm down graded khoa as filter materials at the bottom of ring as shown in drawing and direction of the Engineer in Charge. | cum | 0.53 |  | 0
8 | Supply of different components and fittings of approved quality for construction of AIRP including fabrication, carrying, screening, washing, placing, jointing, making all joints leak proof using thread seal/taflon / cement mortar /solvent cement as applicable as per drawing and direction of the Engineer-in-charge |  |  |  | 0
| (a)50 mm PVC pipe | m | 10 |  | 0
| (b)50 mm Elbow | Nos. | 6 |  | 0
| (c)50 mm Tee | Nos. | 6 |  | 0
| (d)Standard Size SS Bib Cock | Nos. | 4 |  | 0
| (e)25 mm Thread pipe for water system | m | 25 |  | 0
| (f)25mm HDPE pipe | m | 300 |  | 0
| (g)25mm Gate PVC Valve | Nos. | 2 |  | 0
9 | Plage setting | each | 1 |  | 0
| Total |  |  |  | 0
Inword:
| Signature of Engineer |  |  | Signature of Contractor